## Sheet1
Test Case Id | Test Scenario | Pre-request | Test Steps | Test Data | Expected Result | Actual Result | Status | Comment
(TC_001) | Verify the Dimensions of the lift | 1. Ensure that the lift is operational and accessible 2. Available tools of (tape measure, laser measure etc) 3. Ensure safety protocal in place | 1.Enter the lift and close the door 2. Measure the interior height of floor to ceeling 3. Measure the Interior width left to right 4.Measure the interior depth front of the back 5. Records the measurement | 1.Height :- 2.5 meters 2.Width :- 1.5 meters 3.Depth :- 1 meters | The measurement dimensions should be matched
(TC_002) | Verify the type of the door of the lift as per the specification | 1.Ensure the lift is operational and accessible 2.Obtain the lift specifications as door type 3. Ensure safety protocals in place during inspections | 1.Apporach lift and observe the door type 2. Open the lift door and inspect the mechanism like sliding,folding 3.Check the material of the door like steel, iron, fiber 4.Verify additional features of the door like automatic, sensors 5.Record and observed type of the door | 1.Door type :- Automatic sliding door 2.Material :- Steel 3. Features :- Fire rated with sensors based | The door type should be matched as per the document specification
(TC_003) | Verify the type of the material used in interior and exterior | 1.Ensure the lift is opeartional and accessible 2. Obtain the material used in the lift interior the exterior 3. Ensure safety protocols in place during inspections | 1.Open the lift door and enter the lift inside 2. To check the inspect of the mechnism to use interior and exterior like steel, fiber, glass 3.Record the observed which type is material is used | 1.Material Interior :- Glass 2.Material Exterior :- Steel | The materail should be matched as per the requirement
(TC_004) | Verify the capacity of the lift in terms of the total weight | 1.Ensure lift is operational and accessible 2. Obtain the capacity of the lift in terms of the total weight 3. Ensure safety protocals in place during inspections | 1.Open the lift and enter 2. Check the capacity of lift in terms of total weight 3. Record the total weight added each stage of loading 4.Observe and lift record response time to the incesing weight like ( smooth operation, warning alarms | 1.Maximum Weight :- 1000kg | The capacity of the lift should be accept as per the specifications
(TC_005) | Verify the buttons on the lifts to close and open the door and numbers as per the numbers of floors | 1.Ensure lift is operational and accessible 2. Obtain the buttons are available numbers of the floors 3. Ensure safety protocals in place during inspections | 1.Open the lift and enter 2. To check the door buttons close and open work properly 3. To check the buttons are available floor by floor 4. Observe and Record during button opeartion | 1.Open door button 2. Close the door 3. buttons (1,2,3,4,5) | 1.The open buttons Successfully open the lift doors 2. The close buttons Successfully close the doors 3. Each floor button should work properly withount any issue
(TC_006) | Verify the lift moves to the particular floor as the button of the floor is clicked | 1.Ensure lift is operational and accessible 2. Obtain the lift moves to the paricular floor 3. Ensure safety protocals in place during inspections | 1.Open the lift and enter 2. Press the button as paritcular floor and reach the floor 3. Observe the Records floor to floor | 1.Enter '2' floor 2. Enter '5' floor | 1.Lift should move smoothly to the select floor 2. The lift should be stop choose the floor and door should open automatically
(TC_007) | Verify that the lift stops when the up/down buttons on a particular floor are pressed | 1.Ensure lift is operational and accessible 2. Obtain the lift moves to the paricular floor 3. Ensure safety protocals in place during inspections | 1.Open the lift and enter 2. Confirm that are up/down buttons are present and functioning 3.To press the 'UP' button and lift smooth work 4.To press the 'Down' buttons and lift smoothly work 5. To select the Particular floor buttons and to reach out the floor | 1.Enter 'UP' button 2. Enter 'Down' Button 3. Enter particular floor buttons | 1.Lift should move smothly up floor 2. Lift should move smoothly down button 3. The lift should be move select the floor
(TC_008) | Verify if there is an Emergency buttons to contact officials in case of any mishap | 1.Ensure lift is operational and accessible 2. Obtain the Emergecy buttons are available 3. Ensure safety protocals in place during inspections | 1.Open the lift and enter 2. Confirm that the emergency buttons are available 3. To verify the emergency buttons to proper work in case of any mishap | 1.Enter 'Emergency' buttons | 1.Emergency buttons should be work
(TC_009) | Verify the performance of the floor - the time taken to go to floor | 1.Ensure lift is operational and accessible 2. Obtain the performance of the floor - to time taken 3. Ensure safety protocals in place during inspections | 1.Open the lift and enter 2 Confirm that the buttons panels are Present 3. To press the button floor to another floor then to Observe the time taken the to next floor 4. Stop the timer to next floor 5. Record the time taken to reach the select th floor 5.Repeat the floor different floor combinations | 1.Enter '2' floor 2.Enter '3' floor 3. Time : 5 second | The time taken to the travel between floor should be within the specified range as outlined as the lift specifications
(TC_010) | Verify that in case of power failure - the lift doesn't free-fall and get halted on the particular floor | 1.Ensure lift is operational and accessible 2. Obtain the power is failure 3. Ensure safety protocals in place during inspections | 1.Open the lift and enter 2. Confirm that buttons panels are available 3. To Press the button ground floor to 5th floor and sudden power is failure 4. Lift does not free fall and get halted on the current position without any issue | 1.The lift should halt safetly at the nearest floor without free falling 2.Doors should oprate as specified in the emergency protocol | 1.The lift should stop safetly at the nearest floor without any reapid desect during the power failure 2.The safety mechanism should activate appropriately
(TC_011) | Verify lifts working in case the button to open the door is pressed before reaching the destination floor | 1.Ensure lift is operational and accessible 2. Obtain the case of door will not open 3. Ensure safety protocols in place puring inspections | 1.Call the lift in current floor 2. Enter the lift once its arrive 3. Select a destination floor to choose 3rd floor 4. Before lift is reaches the 3rd floor , press the door open inside a lift 5. Observe the bahaviour of the lift after press the button | 1.Current floor:- Ground 2. Destination floor:- 3rd floor | 1.The lift should halt its ascent 2. The doors should be open immediately 3.A meesgae should be show the 'door are open ' and please wait.
(TC_012) | Verify that in case the door is about is close and object is placed between the doors if the doors sense the object and open the door | 1.Ensure lift is opeartional based and accessible 2. Obtain the door is not closed when object is placed between the door 3. Ensure safety protocols on place puring inspections | 1.Call the lift in current floor 2. Enter the lift and close the door 3. Door will be not closed between placed in the door 4. Doors sense the placed in here 5. Observe and record these working | 1. A small box and bag are present the near door and doors sense these object | 1.The lift doors should be detect the object 2.The door should stop close and re-open the door
(TC_013) | Verify the time duration for which the door remains open by default | 1.Ensure lift is oprational based and accessible 2. Lift door open by fefault remains time 3. Ensure safety protocol is present on place during inspections | 1.Call the lift in current floor 2. Enter the lift and close the door 3. After reach the Destiantion floor and door will be open to remains time 4. Record the time taken for th e doors are closed by default | 1.Remains time ;- 5 sec | The lift door remain open to specified the time and automatically is closed
(TC_014) | Verify the lift interior is proper air ventilation | 1.Ensure lift is oprational based and accessible 2. Proper air ventilation is present 3. Ensure safety protocol is present on place during inspections | 1.Call the lift in current floor 2. Open the lift and enter then cloased the door 3. Lift interior is proper air ventilation should present 4. Observe the lift interior and odors or discomfort during the ride. | 1.Ambient Temperature : if possible, temperature meter is present | 1.The should maintain the air quality during the ride 2. Temperature should remain with in comfartable range (20 - 30 dgree celsius)
(TC_015) | Verify the lighting in the lift | 1.Ensure lift is oprational based and accessible 2. Lighting is present 3. Ensure safety protocol is present on place during inspections | 1.Call the lift in current floor 2. Enter the lift and close the door 3. To Observe the lighting conditions 4. Check that the light fixtures inside the lift are functioning properly 5. Note that the flickering, dim spots, brunt out lights | 1.Light level measurement is availble | 1.The lighting inside the lift should be bright and evenly distributed
(TC_016)